|  | CFAS Enterprises Inc. After Market Utility Power Equipment Brokerage Mailto:Staff@CFASPower.com Turbine URL: http://CFASPower.com/Inventory.html Reciprocating URL: http://CFASPower.com/Recips.html |
| --- | --- |
| GTG_1044MTN_Fm5LA.doc |  |

- 1 x Used GEC Alstom Fm 5001LA /50Hz In Excellent Condition

Price „as/where is“ Asia Minor 			USD $1,850,000

Est.Cost Dismantling Crating shipment FOB		USD   $120,000

Gas Turbine

Manufacturer: GEC- Alstom

Type:							 LA

Model: 						Series 5001

Fuel							Naphtha / HSD

Power Output:						14.9mw ( Base Load )

16.9mw ( Peak Load )

Heat Rate:						3613 K Cal / Kwh

Efficiency:						23.8% (Base Load )

24.3% (Peak Load )

Firing Temp:						899c (Base Load )

Exhaust Temp:					498c (Base Load)

Start Up Fuel:						HSD

# Generator

Make:							Alstom Belfort

Cooling:						Air Cooled w/Closed Circuit

Bearing:	One separate bearing & one bearing combined with reduction Gear

Nominal Power Output:	17500Kw

Apparent Power output:	21900 Kva

Speed:	3000 RPM

Voltage:	5650V +/- 10%

Phases:	3

Frequency:	50hz

Connection:	Y

Duty:	Continuous

Strator Insulation:	Class F

Motor Insulation:	Class F

Nominal Excitation Voltage:	157 VDC

Nominal Excitation Current:	425 ADC

Synchronous Resistance Xs;	214

Direct Tranient Resistance Xd:	21.6%

Direct Subtrancient resistance Xd:	14.7%

Short Circuit radio:	.05

Rotor Resistance at 20 Deg C:	0.270 ohms

Strator Resistance at 75 Deg C:	0.00848 ohms

## Excitation System

Excitation System:					Static DC Magnetic Amplifier type with AVR

Excitation Transformer:	50KVA, 5000V/250V. 3 Ph, 5p00hz, Air Cooled, Indoor Duty

Single Phase CTs-6 Nos.	2600A/180 A/15A Compounding CT

CT for Differential Protector- 6Nos.	2500A/5 A Class PS

Choke-3 Nos.	34 mH, 140 A

Rectifier Diodes-6 Nos.	175V. 475A

Excitation Contactors:	Bipolar 40A

Excitation Contactors:	TriPolar 250A

Protection Resistors:	47 ohms/950Kw

Field Current Limiting Resistor:	47 ohms/950Kw

Motorized Rheostat	For Voltage adjustment in Manual Mode

Motorized Rheostat	For Voltage adjustment in Auto Mode

Transformer for manual Adjust. 1 No.	205/15/2 phase 50 hz

Potential Transformer-3 No.	5500v/110v 50VA for AVR

Potential Transformer-3 No.	5500v/110v 100VA for Protection and Metering

AVR:	Gain 10-30, 15A under 35V Burden 550VA

PT Chamber (2Rx100x10mmcu):	Metal clad  Chamber w/Insulator w/Busbar

# Operation History

- I D No.:						401

- Yom:		 				70's By GEC Alstom

Overhaul And Modification

- Fuel Original: 					Liquid & Natural Gas

- Modification To Nat Gas:				Feb. 1982 At 50,000 Hrs

- Total No Of Hours( 2/1996):			85000

- No Of Start Approx: 				500

- Last Overhaul Date: 				June 1993

- Hrs Since Last Overhaul: 				4000

- Next Overhaul Due After Hours: 			25000

- Mod  Into Steam Injection: 				May 1993

- Gas Turbine Commisioned At Negcl:		7/11/1998

- No Of Hours Run For Comm :			87 Hours

- Date Of Comm  Production:			03/05/1999

- GT Modified To Naphtha Firing:			July. 1999

- Exhaust Plenum Modification: Feb. 		1999

- G T Best Station Out Put: 				14.22 Mw

- Heat Rate:						3900 K Cal / Kwh ( Open Cycle )

- Orig Gear Type  Fuel Pump

Replaced-By Warren  Screw Type :		June 1999

- Linear Flow Divider Replaced With

Circular Flow Divider:				June 1999

- All Motors Replaced By Flame Proof Motor:	June 1999

- Total Hours Run At Current Site: 			1307 Hours

# Existing Fire Fighting Modification

1.  Fire Alarm System With Co2 Flooding System:	July 1999

- Naphtha Gas Detection System

Details of Accessories

- 13.5mw Ge Frame 5 Of   GE USA Make

- Generator Set Matching With The Above Gas Turbine Of Gae Alstom Make Series 5001

- C02 Compartment

- Air Filter

- Marshalling Rack

- Auto Voltage Regulator Panel

- Metering And Relay Panel

- Plc Panel

- Control Cabinets And Monitor

- Gn 4010/Metal Clader

- Air Filter Duct Big & Small

- Fuel Filter Skid