|  | CFAS Enterprises Inc. After Market Utility Power Equipment Brokerage Mailto:Staff@CFASPower.com Turbine URL: http://CFASPower.com/Inventory.html Reciprocating URL: http://CFASPower.com/Recips.html |
| --- | --- |
| GTG_1294JM_ W191.doc |  |

1 x Used Westinghouse W191 16.2MW Nat Gas Turbine Plant

Westinghouse:				W191 Gas Turbine

Excellent Condition/Indoor Installation

S/N:						171732-1

Manufactured:					Late 1960s

Rebuilt With All Updates:		 	1991

Fuel:						Natural Gas

Rated:						16,200 Kw

Laburdi Modification

Liburdi Cooling And A Catalytic Converter

Gas Turbine Shaft Speed:			4,912 RPM

Generator Shaft Speed:			900 RPM

Located:					Texas

Usage;:					Base Load Power

Decommissioned:				2006

Total Hours:					87,000

Shut Down For Inspection In 1997 And All Repairs Were Made

All Of All Inspections And Maintenance Available

Gear Box To Mate With Generator

Generator

Rating:						16,320 KW/19,200 KVA

Frequency:					60hz-Can Be Made 50Hz

Volts;						13,800 Volts

Speed:						900 RPM

Power Factor:					85%

803 Amps 125 Exciting Volts

Direct Current Exciter Rating:			80 KW

Starter Engine: 				435 HP Allis Chalmbers

Price:         $ 925,000.00