|  | CFAS Enterprises Inc. After Market Utility Power Equipment Brokerage Mailto:Staff@CFASPower.com Turbine URL: http://CFASPower.com/Index.html Reciprocating URL: http://CFASPower.com/Recips.html |
| --- | --- |
| GTG_1429JL_LM2500Genend.doc |  |

1 x Used Holec Ridderkerk 24Mw LM2500 50Hz  Generator

Photo Exemplar

Asking Price:		USD $435,000

- Unit Is In Dry Storage In Holland.

Generator

- Holec Ridderkerk: Dutch Manufactured

- Type Generator: DTG 177ZM-02

- Type exciter: DTGBP 45/20

- Rated Output: 30000 KVA, 24000kW

- Power Factor: 0.8

- Voltage: 10500 V

- Frequency: 50Hz

- Speed: 3000 rpm

- Date of Manufacturing: 17-02-1991

Estimated hours on the clock: 80.000