|  | CFAS Enterprises Inc. After Market Utility Power Equipment Brokerage Mailto:Staff@CFASPower.com Turbine URL: http://CFASPower.com/Index.html Reciprocating URL: http://CFASPower.com/Recips.html |
| --- | --- |
| GTG_1529SC_GELM1600_50Hz.doc |  |

1 x 1991, GE, 7LM1600-GA-ND 13500KW 11000V 50HZ DF CHP Power Plant

Asking Price:		$3.15 MM

GAS TURBINE: 

Turbine Manufacturer: 			GE 
Turbine Model: 				7LM1600-GA-ND 
Year Manufactured: 				1991 
ISO Base Rating: 				13,500 kW

Heat rate:					10394 kJ/kWh (LHV) 
Fuel Type: 					Nat Gas/Liquid

Fuel Consumption:				Diesel) - 964 GPH @ 138, 000 p/g

Nat Gas - 128,133 Cubic Feet/Hr at 1038 							BTU per Standard Cubic Foot.
Efficiency %: 					35% 
Operating Hours: 				48,000 Approx 
Maintenance: 					Long Term Contract 

POWER TURBINE: 

Manufacture: 					Ruston Gas Turbine Ltd 
P.T. Type:					ELM116/2 
Year of Manufacture: 				1991 
Operating Hours: 				19,000 Approx 

GEARBOX: 

Manufacturer: 					Allen Gears 
G/Box Type: 					Epicyclic 
Gear Ratio: 					4,666;1 
Power Rating: 				10,600 kW 

GENERATOR; 

Manufacturer: 					Brush 
Model: 					BSGMD 118.240/4 
Power Output: 				16,232 kVA 
Voltage: 					11,000 Volts 
Amps: 						852 
Frequency: 					50 Hz 
Power Factor: 					0.85 

GAS COMPRESSOR: 

Manufacturer: 					Belliss & Morcom 
Type: 						WH5-X-1003N 
Discharge Pressure: 				39 bar g 
Speed: 					745 rpm 
Drive Motors; 					Bush 325 kW 
RPM: 						746 

WASTE HEAT RECOVERY BOILER: 

Manufacturer: 					ME Boilers 
Date of Manufacture: 				1991 
Design Code: 					BS 1113 1989 
Design Pressure: 				25 bar g 
Design Metal Temperature: 			250 degree C 
Test pressure: 				31.25 bar g at ambient deg C 
Total Weigh Empty: 				52 tonne