|  | CFAS Enterprises Inc. After Market Utility Power Equipment Brokerage Mailto:Staff@CFASPower.com Turbine URL: http://CFASPower.com/Index.html Reciprocating URL: http://CFASPower.com/Recips.html |
| --- | --- |
| GTG_1675RC_Fm FS3002_50Hz.doc |  |

GE Fm 3-3002J Thomassen Package 10100KW 10500V 50Hz NG Generator Package

Asking Price:	 Euros 650,000

POWER GENERATION PACKAGE

TURBINE

Manufacturer/Packager: 			Thomassen
Turbine Type: 				FS3002J
Date of Installation: 				1981
Power Rating ISO: 				10.1 MW
Fuel configuration: 				Natural Gas
Exhaust Gas Flow: 				180,000 kg/hr @530 Deg C
Mounting: 				Skid
Acoustic Enclosure: 				Yes
Start System:			 	Electric Motor (200 kw)
Total Starts: 				1880
Date of last Major Overhaul:			 2005
Hours Since Last Overhaul 			45,000
Hot Gas Path Inspection:			 2008
Date of last Borescope Inspection:	 	2010
Maintenance History: 				Regular Maintenance
OEM Manuals: 				Available
Major Spares Available Nozzle Ring (value-120k Euros)+ other items


Main Gearbox (Spare Unit also Available)

Manufacturer: 				Voith
Power: 				14,000 kw
Model: 				AD 63 USO
Date of Last Inspection 				2008
RPM: 				6519 - 1500

ALTERNATOR

Manufacturer: 				Holec
Date of Manufacture: 				1981
Model: 				DG 150/145/95
RPM: 				1500
Hertz: 				50
Insulation Class: 				F
Volts: 				10,500

Balance of Plant

Turbine Control System: 			Speedtronic Mk II
Air Intake Filtration System : 			Yes
Oil Cooler : 				Yes
Exhaust System : 				Yes, available to first flange of ducting
Gas Press Reducing Station : 		Available



Inspection December 2010
Date Plant Last Run 2011
Major Spares Included 
Excellent Working Condition