|  | CFAS Enterprises Inc. After Market Utility Power Equipment Brokerage Mailto:Staff@CFASPower.com Turbine URL: http://CFASPower.com/Index.html Reciprocating URL: http://CFASPower.com/Recips.html |
| --- | --- |
| GTG_GTG_1743ES_FM5001_60Hz.doc |  |

4 x Low Hour GE MS5001N, 60Hz DF Packaged Generating Plants

Plant Rating:							100 MW Power Block

Manufacturer: 						GE

GE "LYNN" AIR COOLED

Model:							MS5001N

Rating Each:							19.55 MW

RPM:			3600

Hz			60

Power Factor			0.85

kW			23,000 KVA

Amps			962

Volts			13,800

Fuel:							Duel Fuel (Light Distillate Fuel)

YOM							1970

No. of Units:							5

Condition: 							Used

Hours: 							AVG-13,000 - 15,000

Starts:							AVG- 4,000

Utility Owned

**Will Require 1 x 200Kw Black Start Generator

The units were taken off line in 2014. They were properly shut down and

preserved. The last maintenance was preformed in 2014 as well.

Weights and Dimensions

Approximate Weights

Gas turbine:                                          	70,000 Lbs

Turbine base and piping:                       	68,000 Lbs

Starting means and accessory gear:  	20,700 Lbs

Dimensions

Overall Length:        	39 Meters

Width:                       	3.2 Meters

Height:                      	3.8 Meter

Asking Price $300,000 each.