|  | CFAS Enterprises Inc. After Market Utility Power Equipment Brokerage Mailto:Staff@CFASPower.com Turbine URL: http://CFASPower.com/Index.html Reciprocating URL: http://CFASPower.com/Recips.html |
| --- | --- |
| GTG_1745CDFV_FiatTG16_60Hz.doc |  |

1 x Complete W191/TG16 15.6Mw 60Hz Nat Gas Turbine Generator Package

Gas Turbine:			Westinghouse/Fiat 191/TG16

Generator:				English-Electric

Serial No.:				1412/214

Specs:				ASA.C.50

Speed:				1800 RPM

AMPS:				768 Amps

Frequency:				60 Hz

Phase:				3

KW:					15,600

Voltage:				18,370

Insulation:				8

Power Factor:			0.85

Exciter Voltage:			56 V

Capacitor Output

Sub-Excitation:		9300 MVAR

Over-excited:			14700 MVAR

OHM Resistence

Strator:			0.03005 OHMS/Phase at 18.5 Grad.Centegrade

Rotor

Max Temp:

Strator:			120°C A 26°C Ambient Temp.

Rotor:				130°C A 26°C Ambient Temp.

Cap:				Parallel

Stopped Operating:		2014

Hours since last OH:		5,941hrs

Starts:				372

Complete w/Turbine, Generator, control room, Transformer and all auxiliary equipment except fire prevention system

Asking Price:			 $450.000