|  | CFAS Enterprises Inc. After Market Utility Power Equipment Brokerage Mailto:Staff@CFASPower.com Turbine URL: http://CFASPower.com/Inventory.html Reciprocating URL: http://CFASPower.com/Recips.html |
| --- | --- |
| GTG_409MDE_KAT0_GENEND_50HZ.doc_.doc |  |

# New/Unused Kato 2 Bearing 4320 Kw/50Hz/11Kv Genend Off Cat 3616

Asking Price: USD$ 40,000.00

- Model A252930002;

- Catalog No. 6P12-3600

- S/N 10818-02;  Type 25293

- Skid, Cooling Module & Fuel Heater Included

- 4320 Kw Continuous

- 5400 Kva Continuous

- 6351 / 11,000 Volts

- 3 Phase

- 50 Hertz

- 1000 Rpm

- 6 Wire

- 0.8 Power Factor

- 80 Degree C Rise By 40 Degree C Ambient

- 44,250 Lbs. Shipping Weight.

FOB; At Site, USA